## Sheet1
Dear Benito,

I would recommend reading the following as a starting point for this kind of analysis:

Pawley, J., The 39 steps: A cautionary tale of quantitative 3-D fluorescence microscopy. Biotechniques, 2000. 28(5): p. 884-888.	39steps.pdf / Sheet 2
North, A.J., Seeing is believing? A beginners' guide to practical pitfalls in image acquisition. Journal of Cell Biology, 2006. 172(1): p. 9-18.	Next: Start with this
Waters, J.C., Interpreting fluorescence microscopy images and measurements. Cell, 2008.
Waters, J.C., Accuracy and precision in quantitative fluorescence microscopy. Journal of Cell Biology, 2009. 185(7): p. 1135-1148.

Then, after that, take a look at the excellent tutorials on the ImageJ Wiki and the FIJI website (and others as well):

http://imagejdocu.tudor.lu/doku.php?id=video:start
http://pacific.mpi-cbg.de/wiki/index.php/Colocalization#Colocalization_Analysis_-_What_is_Colocalization_anyway.3F
http://rsbweb.nih.gov/ij/docs/examples/index.html
http://www.fmhs.auckland.ac.nz/sms/biru/_docs/Image_Analysis_Basics.pdf

39steps.pdf
More pixels (1024 x / 1024 vs. 512 x 512) make undersampling less likely, / but mean that one must either spend less time on each / pixel by reducing the number of photons collected and / increasing Poisson Noise, or take more time to scan / The larger image and possibly cause more bleaching.

## Sheet2
In fact, all you can be really sure of / measuring with most laser-scanning confocal / microscopes in the fluorescence mode is some feature / of the number of photons collected at a particular time.	UNIVERSE → … → Nature → Grapes → Skin / → Saccharomyces cerevisiae → FP-Linked → Confocal Microscope / → Image → Measurement → # of Photons
reduced resolution translates into "putting the same / number of exciting photons into a larger spot." This / lowers the excitation intensity - the number of photons / produced by a given molecule - and the fraction of / these that are detected.	UNIVERSE → … → Nature → Grapes → Skin / → Saccharomyces cerevisiae → FP-Linked → Confocal Microscope / → Image → Reduced Resolution → Measurement → # of Photons
It is often forgotten that normal / signal levels in fluorescence confocal microscopy / correspond to only 10-20 photons/pixel in the brightest / Areas.
For Nyquist sampling, the pixel should be at least two / times smaller than the smallest features that you / expect to see in your specimen.
S. c. membrane and cell wall thickness = 150-200 nm => pixel should be 75 nm / 1 Micron = 10.73 pixels => 1pixel = 1/10.73 = 0.093 micron => 93 nm